ENVIRONMENTAL ROUNDS WORKSHEET FOR INFECTION PREVENTION

Long Term Care Facility

https://vimeo.com/showcase/6118634

Facility Name: ___________________________________________________

Observers: ____________________________________				Date: __________________

_____________________________________________

Check as follows:

C = Compliant; NC = Not compliant; CAC = Corrective action completed; FU = Follow-up required; NA = Not applicable

| Criteria | C | NC | Finding or Comment | CAC | FU | NA |
| --- | --- | --- | --- | --- | --- | --- |
| Lobby & Reception Area: |
| Respiratory Hygiene/Cough Etiquette Sign |  |  |  |  |  |  |
| Alcohol based hand rub available |  |  |  |  |  |  |
| Tissues and container for disposal |  |  |  |  |  |  |
| Masks available |  |  |  |  |  |  |
| Furniture: Material cleanable and free of tears or patching |  |  |  |  |  |  |
| Floors and wall clean |  |  |  |  |  |  |
| Toys if present clean and stored appropriately |  |  |  |  |  |  |
| Bathrooms (Visitors and Staff) |  |  |  |  |  |  |
| Ceiling tiles free of stains/holes |  |  |  |  |  |  |
| Ceiling tiles in place |  |  |  |  |  |  |
| No evidence of water or moisture intrusion (around ceiling tiles, around baseboard or fixtures) |  |  |  |  |  |  |
| Hallways and Corridor (s) |  |  |  |  |  |  |
| Floors visible cleaned and without debris |  |  |  |  |  |  |
| Hallways free of clutter |  |  |  |  |  |  |
| Equipment not stored in hallway |  |  |  |  |  |  |
| Walls free of stains, breaks and penetrations |  |  |  |  |  |  |
| Day Room (s) |  |  |  |  |  |  |
| Counter around sink free of clutter |  |  |  |  |  |  |
| No items stored within splash zone (3ft from sink) OR splash guard is in place |  |  |  |  |  |  |
| No resident care items stored under sink |  |  |  |  |  |  |
| Ice dispenser visible cleaned and no evidence of mold accumulation |  |  |  |  |  |  |
| Food refrigerator contains only resident nutrition |  |  |  |  |  |  |
| Food temperature monitored daily and recorded |  |  |  |  |  |  |
| Hand hygiene supplies available for residents (mounted ABHR or hand sanitizing wipes) |  |  |  |  |  |  |
| Clean Storage Rooms: |
| Adequate separation of clean & soiled |  |  |  |  |  |  |
| Floors and walls clean |  |  |  |  |  |  |
| No supplies stored on the floor |  |  |  |  |  |  |
| Supplies stored 8” from floor |  |  |  |  |  |  |
| Supplies stored 18” from ceiling (5” if no sprinkler head) |  |  |  |  |  |  |
| Storage units have solid bottom shelves |  |  |  |  |  |  |
| Supplies stored away from windows, vents |  |  |  |  |  |  |
| Shelving/drawers/cabinets clean |  |  |  |  |  |  |
| Supplies within expiration dates |  |  |  |  |  |  |
| Sterilized trays free of dust, unopened, tears |  |  |  |  |  |  |
| No corrugated cardboard boxes or outside shipping boxes |  |  |  |  |  |  |
| GYM and Rehab Area |
| Floors & walls clean |  |  |  |  |  |  |
| Walls are free of breaks and penetrations |  |  |  |  |  |  |
| Bathroom clean |  |  |  |  |  |  |
| Hand Hygiene Sink present with soap and paper towels |  |  |  |  |  |  |
| Alcohol based hand rubs accessible |  |  |  |  |  |  |
| Exercise equipment clean, no tears or taped surfaces |  |  |  |  |  |  |
| Resident equipment not stored on floor |  |  |  |  |  |  |
| Counters free of clutter |  |  |  |  |  |  |
| Gloves, PPE, available as per policy |  |  |  |  |  |  |
| Cubicle curtains if present visible clean and free of tears |  |  |  |  |  |  |
| Policy for cleaning cubicle curtains |  |  |  |  |  |  |
| No food or drink present |  |  |  |  |  |  |
| Clean Storage Rooms: |
| Adequate separation of clean & soiled |  |  |  |  |  |  |
| Floors and walls clean |  |  |  |  |  |  |
| No supplies stored on the floor |  |  |  |  |  |  |
| Supplies stored 8” from floor |  |  |  |  |  |  |
| Supplies stored 18” from ceiling (5” if no sprinkler head) |  |  |  |  |  |  |
| Storage units have solid bottom shelves |  |  |  |  |  |  |
| Supplies stored away from windows, vents |  |  |  |  |  |  |
| Shelving/drawers/cabinets clean |  |  |  |  |  |  |
| Supplies within expiration dates |  |  |  |  |  |  |
| Sterilized trays free of dust, unopened, tears |  |  |  |  |  |  |
| No corrugated cardboard boxes or outside shipping boxes |  |  |  |  |  |  |
| Clean Linen |  |  |  |  |  |  |
| Clean linen covered OR stored in a linen closet with no other items and door remains closed |  |  |  |  |  |  |
| Linen carts or shelves have a solid bottom |  |  |  |  |  |  |
| Floor is clean and uncluttered |  |  |  |  |  |  |
| Separation of clean and soiled linen |  |  |  |  |  |  |
| Clean linen covered during transport |  |  |  |  |  |  |
| Soiled Utility Rooms: |
| Floors and walls clean |  |  |  |  |  |  |
| Free of patient supplies and clean equipment/supplies |  |  |  |  |  |  |
| Soiled linen is bagged appropriately |  |  |  |  |  |  |
| Shower Room(s) |
| Floors and walls clean |  |  |  |  |  |  |
| Free of obstruction and equipment clean and dry |  |  |  |  |  |  |
| Shower curtain(s) clean and no evidence of mold accumulation |  |  |  |  |  |  |
| Staff can describe procedure for cleaning and disinfection after use, including shower head |  |  |  |  |  |  |
| Soap and shampoo containers not “topped” off or refilled |  |  |  |  |  |  |
| Equipment & Non-Critical Items: |
| Reusable medical equipment and devices cleaned after each use |  |  |  |  |  |  |
| Reusable equipment stored appropriately |  |  |  |  |  |  |
| Equipment handled as per policy |  |  |  |  |  |  |
| Supplies for cleaning/disinfection of non-critical equipment available |  |  |  |  |  |  |
| EPA registered disinfectants used and approved by facility |  |  |  |  |  |  |
| Staff aware of disinfectant contact time |  |  |  |  |  |  |
| Waste Management: |
| Waste containers clean, operational, & in good condition |  |  |  |  |  |  |
| Waste containers covered as required |  |  |  |  |  |  |
| Containers labeled as required |  |  |  |  |  |  |
| Red bag available in each regulated medical waste container |  |  |  |  |  |  |
| Regulated medical waste discarded appropriately |  |  |  |  |  |  |
| Items in regulated medical waste containers are appropriate |  |  |  |  |  |  |
| Sharps containers available |  |  |  |  |  |  |
| Sharps containers not overfilled |  |  |  |  |  |  |
| Sharps containers secured appropriately |  |  |  |  |  |  |
| Other Housekeeping Issues: |
| Blood spill kits available |  |  |  |  |  |  |
| Hand washing sink available in all resident care areas |  |  |  |  |  |  |
| Hand washing supplies available (soap, paper towels etc.,) |  |  |  |  |  |  |
| Alcohol based hand rub available and accessible to staff |  |  |  |  |  |  |
| Daily cleaning schedule available |  |  |  |  |  |  |
| Refrigerators/Freezers: |
| Documentation present for temperatures |  |  |  |  |  |  |
| Correct temp observed: Medications, 35( F and 46( F |  |  |  |  |  |  |
| Correct temp observed: Freezers-Vaccines: -58( F and +5(C |  |  |  |  |  |  |
| Correct temp observed: Refrigerator-Vaccines: 35( F and 46 ( F |  |  |  |  |  |  |
| Only medications in medication refrigerator |  |  |  |  |  |  |
| Only specimens in specimen refrigerator |  |  |  |  |  |  |
| Refrigerator clean |  |  |  |  |  |  |
| Items labeled as per policy |  |  |  |  |  |  |
| Medications/Safe Injection Practices: |
| No outdated IV solutions or medications |  |  |  |  |  |  |
| Multi-dose Open vials dated and timed (expiration date 28 days after opening) |  |  |  |  |  |  |
| Medication carts clean and not cluttered |  |  |  |  |  |  |
| Single dose vials used one time only for one patient only |  |  |  |  |  |  |
| No medication in immediate patient care area |  |  |  |  |  |  |
| Hand hygiene sink with splash guards/spatial distance (3ft or >) |  |  |  |  |  |  |
| Med prep area uncluttered |  |  |  |  |  |  |
| Glucometer (s) dedicated to individual residents (preferred) OR disinfected following manufacturer’s IFUs after each use |  |  |  |  |  |  |
| Glucometer (s) stored in a manner to reduce the risk of contamination |  |  |  |  |  |  |
| Miscellaneous: |
| No food or drink in storage or resident care area |  |  |  |  |  |  |
| Handwashing observed when appropriate |  |  |  |  |  |  |
| Ice chest not used for storage of ice |  |  |  |  |  |  |
| Ice chest emptied and dried completely after use |  |  |  |  |  |  |
| Ice scoops not stored in ice |  |  |  |  |  |  |
| Safety devices available |  |  |  |  |  |  |
| Safety devices used appropriately |  |  |  |  |  |  |
| PPE readily accessible |  |  |  |  |  |  |
| Eye wash stations always checked per policy and caps (covers) in place |  |  |  |  |  |  |
| Disinfection/Sterilization: (if facility performs and reprocessing of re-usable resident devices such as TEEs, Endoscopes etc.,) |
| Space adequate and designed to flow from contaminated to clean (pre-cleaning, soaking, rinsing, drying, packaged, re-processed) |  |  |  |  |  |  |
| Contaminated item transported from point of care to decontamination area appropriately (in appropriate container, that is labeled) |  |  |  |  |  |  |
| Adequate number of sinks (one for hand hygiene, one for pre-cleaning and one for rinsing) |  |  |  |  |  |  |
| Appropriate solutions available for soaking (follow IFUs) |  |  |  |  |  |  |
| Appropriate containers available, cleaned and labeled |  |  |  |  |  |  |
| Instruments/devices being processed correctly |  |  |  |  |  |  |
| Disinfection agent monitored for concentration, appropriate dilution, exposure time and temperature |  |  |  |  |  |  |
| PPE available |  |  |  |  |  |  |
| Staff training and competency documented |  |  |  |  |  |  |

CORRECTIVE ACTIONS:

REPORT SENT TO: